## Trade Estimate & Invoice
TITAN CLIMATE SYSTEMS & HVAC LLC |  |  |  | HVAC SERVICE CALL INVOICE & DIAGNOSTIC TICKET
Carrier Infinity 21 Central AC & Heat Pump System |  |  |  | Work Order #: TRD-2026-7740
Compliance: EPA Section 608 Refrigerant Compliance & ACCA Quality Standards |  |  |  | Date of Service: October 30, 2026
HVAC UNIT SPECIFICATIONS & DIAGNOSTIC PARAMETERS
Customer & Service Site: | Robert Sterling ¦ 4820 Elmwood Terrace, Dallas TX |  | EPA Certified Technician: | Marcus Vance (EPA 608 Universal Cert #TX-88412)
HVAC Equipment Spec: | Carrier 4-Ton 16 SEER Heat Pump ¦ Serial #2819-CA-402 |  | Warranty & Service Terms: | 30 Days Labor Warranty ¦ 1-Year OEM Parts Guarantee
Service Tag | HVAC Repair & Component Replacement | Qty / Hours | Unit Rate ($) | Parts Cost ($) | Line Total ($)
HVAC-DIAG | Multi-Point System Diagnostic & Pressure Test | 1 | 125 | 0 | 125
HVAC-CAP | Dual Run Capacitor 45/5 MFD 440V Replacement | 1 | 65 | 120 | 185
HVAC-REF | EPA Compliant R-410A Refrigerant Charge | 3.5 | 95 | 0 | 332.5
HVAC-COIL | Evaporator Coil Acid Clean & Algae Tab Treatment | 1.5 | 110 | 45 | 210
HVAC-LABOR | Lead Journeyman Field Service Labor Hours | 2.5 | 110 | 0 | 275
FIELD CONTRACTOR LICENSING & WARRANTY CERTIFICATION: |  |  |  | Sub-Category Subtotal:
EPA REFRIGERANT RECOVERY NOTICE: Technician certifies refrigerant recovery conducted per 40 CFR Part 82 Subpart F standards. System vacuumed to 500 microns. |  |  |  | Total HVAC Service Invoice ($):
Licensed Field Contractor / Master Journeyman Sign-off: ________________________ Date: 10/30/2026