## Plumbing & HVAC Inventory
PLUMBING & HVAC MECHANICAL CONTRACTOR - PARTS & STOCK INVENTORY
Automated Reorder Alerts, Service Van Bin Locations & Inventory Valuation
Warehouse / Van ID: | Main Central Depot & Van Fleet #4 |  |  | Inventory Manager: | Lead Mechanical Super
Stock Audit Date: | 2026-10-29 |  |  | Target Min Safety Stock: | 30-Day Velocity Basis
SKU / Part # | Trade | Part Description & Specs | Bin / Van Loc. | On Hand | Min Reorder | Unit Cost ($) | Total Asset Val ($) | Reorder Status
PLB-COP-050 | Plumbing | 1/2-Inch Type L Copper Pipe (10-ft Length) | Rack A-12 | 45 | 20 | 18.5
PLB-COP-075 | Plumbing | 3/4-Inch Type L Copper Pipe (10-ft Length) | Rack A-14 | 12 | 25 | 26.2
PLB-VAL-100 | Plumbing | 1-Inch Full Port Brass Ball Valve (Lead-Free) | Bin B-03 | 28 | 15 | 14.75
PLB-PEX-050 | Plumbing | 1/2-Inch PEX-A Tubing Coil (100 ft Blue) | Bin B-08 | 8 | 10 | 32
HVC-CAP-355 | HVAC | Dual Run Capacitor 35/5 MFD 440V Round | Van Bin C-01 | 18 | 10 | 9.4
HVC-REF-410 | HVAC | R-410A Eco-Refrigerant Gas (25 lb Cylinder) | Depot Cage 2 | 4 | 6 | 185
HVC-CON-024 | HVAC | 24V Single Pole 30 Amp Air Conditioner Contactor | Van Bin C-05 | 22 | 12 | 11.8
HVC-FLT-162 | HVAC | MERV 11 Pleated Air Filter 16x25x1 (Case of 12) | Rack D-04 | 15 | 8 | 48
PLB-PMP-033 | Plumbing | 1/3 HP Submersible Cast Iron Sump Pump | Depot Bay 5 | 3 | 5 | 128
TOTAL INVENTORY VALUE:
ITEMS NEEDING REORDER: