## Trade Estimate & Invoice
AQUAPRO POOL & WATER CARE SERVICES |  |  |  | SWIMMING POOL WATER CHEMISTRY & MAINTENANCE LOG
24,000 Gallon Inground Gunite Pool & Heated Spillover Spa |  |  |  | Work Order #: TRD-2026-7740
Compliance: Independent Pool and Spa Service Association (IPSSA) Standards |  |  |  | Date of Service: October 30, 2026
WATER BALANCING PARAMETERS & POOL SYSTEM METRICS
Pool Owner & Site: | Richard & Linda Henderson ¦ 7820 Palm Isle Dr, Scottsdale AZ |  | Pool Volume & Surface: | 24,000 Gallons ¦ White Quartz Plaster ¦ Saltwater Chlorine Gen
Certified Pool Operator: | Kyle Larson, CPO (National Swimming Pool Foundation #CPO-481) |  | Circulation Equipment: | Pentair IntelliFlo Variable Speed Pump ¦ Clean & Clear Plus 420
Chemical Metric | Actual Water Test Result | Ideal Standard | Chemicals Dosed | Unit Cost ($) | Service Fee ($)
TEST-CL | Free Available Chlorine (FAC): 3.5 ppm | 2.0 - 4.0 ppm | Stabilized Liquid Chlorine | 18 | 18
TEST-PH | Pool Water pH Level: 7.5 | 7.4 - 7.6 pH | Muriatic Acid (1/2 Gallon) | 12.5 | 12.5
TEST-ALK | Total Alkalinity (TA): 90 ppm | 80 - 120 ppm | Sodium Bicarbonate (5 Lbs) | 15 | 15
TEST-SALT | Salinity Level: 3,200 ppm | 3,000 - 3,400 ppm | High Purity Pool Salt (80 Lbs) | 28 | 28
CLEAN-SVC | Tile Line Brush, Skimmer Baskets, Filter Backwash | Weekly Standard | Labor Included | 115 | 115
FIELD CONTRACTOR LICENSING & WARRANTY CERTIFICATION: |  |  |  | Sub-Category Subtotal:
LSI BALANCED WATER CERTIFICATION: Water chemistry calibrated according to Langelier Saturation Index (-0.1 balanced) to protect plaster surface and pump heaters. |  |  |  | Total Pool Service Visit Amount ($):
Licensed Field Contractor / Master Journeyman Sign-off: ________________________ Date: 10/30/2026